## Slide 1: Module 6
Advanced Policies

## Slide 2: Module Topics
Maintenance and Provisioning with Event Suppression
Automatic Event Resolution Policy
Hibernations
X in Y Policies

## Slide 3: Maintenance and Provision Objectives
Two database sources:
  One with a list of all the scheduled maintenance on the network.
  One with a list of provisioned Nodes.
Scenario:
  When an event occurs, check the Maintenance database to see if a node is currently scheduled to be out of service. Suppress the ObjectServer by setting the SuppressEscl flag to 6.
  When an event occurs, check the provisioned table to see if a node is currently provisioned, therefore eligible to be monitored – if not, suppress the event in the ObjectServer by setting the SuppressEscl to 4 and Clear the event

## Slide 4: Data Required
In this class, Provisioning and Maintenance information can be found in the ObjectServer custom table custom.provision.
We will use a SQL Direct Query (no Data Type required).
Node | MaintStartTime | MaintEndTime | Status
gambit | 12/04/04 12:00 | 12/05/04 17:00 | 0 – Not Provisioned 1 – On-Line 2 - Maintenance

## Slide 5: Using DirectSQL() Action Function
directSQL(DataSource,Query, CountOnly)
  DataSource must exist to send query to. In this case we will use defaultobjectserver.
  Query – the complete SQL query (no semi-colon).
  CountOnly – if true returns only count of retrieved entries.
Returns an array of data items (rows).
Allows any command to be sent to the selected data source.
  With Object Server, this allows for calls like procedure calls and ALTER SQL calls.

## Slide 6: CheckSuppression Policy
Get Matching Outage Entries
  Query = "select Status from custom.provision where Node = '" + @Node + "' AND MaintStartTime < " + CurrentTime + " AND MaintEndTime > " + CurrentTime;
  DirectSQL(“defaultobjectserver”,MyQuery,false);
If No records
@SuppressEscl = 4, @Severity = 0
Else if Status = 0
@SuppressEscl = 4, @Severity = 0
Else if Status = 2
@SuppressEscl = 6
ReturnEvent

## Slide 7: Key Setup Steps for the Lab
Set a status flag – ImpactFlag2 - in alerts.status to ensure that the policy is not re-run for any events.
In order to re-process events when they have deduplicated, the ImpactFlag2 should be reset in the de-duplication automation/trigger.

## Slide 8
LAB EXERCISE
Maintenance and Event Suppression

## Slide 9: Event Correlation Types
Netcool/Impact enables complex event correlation.
Automatic Event Resolution
  Ability to run an external command.
  Action based on the reply.
Time Based Correlation
  Any correlation which requires a time factor.
  X events in Y minutes.
Notes: Netcool/Impact can be used to implement complex correlation.
This could be to use external data to suppress events, to execute a course of action based on the results of executing a command and complex time based correlation.

## Slide 10: Automatic Event Resolution
Updating Netcool/OMNIbus events based on the results of performing external actions.
  On receipt of an unreachable event, ping the device and clear the event if the device is alive
Notes: It is possible to execute actions from within Netcool/Impact, wait for a result and manage the events within Netcool/OMNIbus based on the result.
For example, when an unreachable event occurs, ping the device and clear or delete the event if the device is alive.
This functionality is different from Netcool/OMNIbus in that results from executing the command can be used in further processing.

## Slide 11: Automatic Event Resolution - DeviceReachable
Note: You must start
nci_jrexec before you
can use JRExecAction
Is Ping
Successful?
Ping the Device listed
As offline
PingDevice
New Event in O/S
Problem event, Machine
offline
Yes
Clear Event,
Add Journal Entry
ReturnEvent
Notes: The above policy is run from the Event Reader.
The JRExecAction Action Function sets the ExecCommand to ping. The command /opt/netcool/impact/bin/nci_jrexec must be executed before the JRExecAction module may be invoked.
Ping will need to be in the path, otherwise the full path must be included.
The parameter provided to the ping command should be the node name of the device.
The last Action Function returns the event, setting the Severity, and using the @JournalEntry field to set the journal within the event.
The strip function is used to remove any new line characters from the results within the ExecOutput and to use a ‘like’ comparison to identify the results in the output. This strip function should always be used on a returning ExecOutput.
*** Script for Linux ping ***
#!/bin/sh
# Script Name : ping.sh
# Run it by supplying 1 Arg - eg ping.sh <hostname>
ping -c1 >/dev/null 2>&1 && echo $1 alive || echo $1 Not Responding

## Slide 12: Automatic Event Resolution - PolicyComponents
Test ping from command before running the policy.
To write to Journal Entry use the @JournalEntry special field.
You can also use the field @DeleteEvent to delete an event from the ObjectServer.
For easier comparison use the strip function to clean up the ExecOutput return variable for JRExec
  Strip(ExecOutput, “\n”) like “.*alive.*”
Notes: When using any command line script via the Jrexec Server check responses by executing the script on the command line first.
@JournalEntry will update the relevant events journal entry within OMNIbus
@DeleteEvent will flag the event for deletion in event container. This will subsequently delete the relevant event within OMNIbus.
These actions will take place on the issue of a ReturnEvent Action Function from within the policy.
The strip() function allows us to strip the ExecOutput (output of the JrexecAction Action Module)

## Slide 13: Using JRExecAction Action Function
The executable $IMPACT_HOME/bin/nci_jrexec should be started.
  Best practice: Place underprocess control in production.
Syntax:
  JRExecAction(command,parameter array, execute on queue, timeout)
    Command – Name of command to execute
    Parameters – Array of parameters to pass to command
    Execute on Queue – True will serialize execution
    Timeout - # seconds to wait before timing execution out
Notes: JRExecAction
The JRExecAction function executes an external command using the JRExec server.
To execute an external command, you call JRExecAction and pass the name of the
command, a string that contains any command line arguments and a timeout value.
This function is equivalent to the JRExecAction action module in versions 2.3 and earlier.
Syntax
JRExecAction(Command, Parameters, ExecuteOnQueue, TimeOut)
Parameters
This function has the following parameters:
Parameter Format Description
Command - String Name of the external command, script or program to execute.
Parameters Array - Array of parameters to pass to the command.
ExecuteOnQueue - Boolean Set to True in order to place the command on the JRExec server queue. Commands on the queue are executed by the JRExec server in serial mode. Set to False in order to execute the command in parallel with any other commands that might currently be running. False is the appropriate setting for most uses of this
function.
TimeOut - Integer Number of seconds to wait after sending the command before
timing out.

## Slide 14
LAB EXERCISE
Automation via External Command

## Slide 15: Extending the Lab Exercise
If you are using real events (instead of generated from the CLI), you may want to process duplication events.
You will want to:
  set a restriction clause with Type =1 (Problem).
  set a restriction clause with Severity > 0.
  reset ImpactFlag3 in the deduplication trigger.
You can modify the policy to execute a ping every two min. – you will need to create a trigger to reset the ImpactFlag3.

## Slide 16: Automating Resolutions with CommandResponse
CommandResponse allows the policy to interact with a remote system via telnet.
Commands are issued and results collected in an expect script fashion.
Typical CommandResponse transactions:
  Establish session.
  Loop
    SendCommand
    Expect Values
  Close session.
  Note: Expect values should be used to verify a response, not test the validity of the response. In other words, get the response string first, then use additional logic to qualify the response. Don’t wait on a correct response in the expect string

## Slide 17: Using CommandResponse
CommandResponse establishes the initial connection only.
Syntax:
  Session = CommandResponse(Host, UserName, Password, InitialPrompt, Port, Timeout, Expiration)
  Host
  Username, Password – telnet login
  Initial Prompt – Initial string I expect back to verify log in
  Port – 23 (default telnet port)
  Expect Timeout – Timeout for each command sent
  Session Timeout – Timeout for session activity as a whole

## Slide 18: Working with Session Attributes and Methods
Session = CommandResponse ( … )
Use the following methods on the Object opened:
  Session.SendCommand – Send Command
  Session.ExpectList – List of possible strings expected
  Session.Disconnect – use to close session (Session.Disconnect = True)
Verify results using
  Session.ResponseReceived – text string returned by host
  Session.MatchedPrompt – Substring from the expectList array that matched the response from the host

## Slide 19: Testing A Command Response
Session = CommandResponse(“batman", "root", "disraeli", “batman", 23, 3, 6);
log("Opened Session");
Session.SendCommand = "cd /etc";
Session.ExpectList = {“batman"};
Session.SendCommand = "ls";
log("Sent Command");
Session.ExpectList = {“ftpusers”,“batman“};
log("Checking Expect list");
log("RESULT:" + Session.ResponseReceived);
if (Session.MatchedPrompt = “ftpusers”
{
log(“ftp has been secured”);
}
Session.Disconnect = True;
log("Session Disconnected");

## Slide 20
LAB EXERCISE
Automation via CommandResponse

## Slide 21: Hibernations
Provide a mechanism to pause a policy.
  ActionKey uniquely identifies a hibernation instance.
A hibernation is provided a timeout period.
Hibernations can be awakened by:
  Timeout period expiring.
  ActivateHibernation Action Function.
  Received Email, IM, other events taking place.
When awakened, the hibernation resumes where it left off with the same context.
A hibernation can be activated multiple times until it is removed.
Notes: Within Netcool/Impact, three Action Functions are provided to carry out time based actions.
Hibernate Hibernate a policy for a given period of time. Each hibernation must have a unique key for identification (ActionKey).
RemoveHibernation All hibernations must be removed within a policy. The ActionKey is used to identify the hibernation to delete.
ActivateHibernation Used within a policy to reawaken a hibernation in another policy. The ActionKey is used to identify the hibernation to wake.
Hibernations can be awoken by:
The PolicyActivator when the time out period for a hibernation expires.
ActivateHibernation Action Function
The EmailReader service, that can be configured to run a policy on
receipt of an email. If the subject holds a # followed by an ActionKey value, the email reader will extract the action key value from the subject into a variable called ActionKey. This can then be used by the policy executed by the email reader which can use the ActivateHibernation Action Function to reawaken the hibernation.

## Slide 22: Demonstrating Hibernations
We can create a couple of simple policies just to test how hibernations work
The SetHibernation policy will start and set a hibernation to expire in 60 seconds
There are 3 possibilities for the hibernation to return. These possibilities are reflected in the “WakeupReason”:
  “Timeout” means the hibernation timed out after specified time
  Returns Reason field set when Hibernation was activated means the hibernation was manually activated
  Any other value is returned when the ActivateHibernation function is used. This function sets the Reason in the call.

## Slide 23: Hibernation Functions
Hibernate(ActionKey, Reason, Timeout)
  ActionKey – use as unique identifier
  Reason – Optional use to define manual return for reason
  Timeout – Period before Hibernation returns with Timeout
ActivateHibernation(HibernationOrgNode)
  To Activate a hibernation you must first retreive in OrgNode
GetHibernatingPolicies(StartActionKey, EndActionKey, MaxNum)
  You can lookup hibernations individually or in ordered groups (Hint maybe there can be reason behind ActionKeys)
RemoveHibernation(ActionKey)
  Always remove the hibernation, expiration doesn’t remove

## Slide 24: Enabling Hibernations

## Slide 25: Setting A Hibernation
Notes: This policy sets the hibernation however, it is also where processing returns when the hibernation returns.
Because the policy context is saved, it’s like we never left!

## Slide 26: Activating the Hibernation

## Slide 27: Viewing Hibernations

## Slide 28
LAB EXERCISE
Hibernations

## Slide 29: Thresholding – X events in Y seconds
Scenario: If Netcool detects that an invalid ObjectServer login for any user more than 3 times in 30 seconds then escalate the alarm to critical, and change the Summary to “Multiple Login Failures on account.”
Here we are need to process deduplicated events!
Notes: The X in Y policy can be used to monitor events from within OMNIbus over a period of time. The reasons for this need to can be varied:
Security – Multiple Login failures, firewall security errors
Network problems – bouncing trunks/links

## Slide 30: X in Y – Wizard
X in Y is a fairly complex policy, but very common.
We will use the Wizard, then review how this works.
We can also add additional functionality to X in Y, such as altering the Summary field or implementing notification.
Notes: It is a common but complex policy hence the provision of a wizard for its creation.
The efficiency of the X in Y policy is critical and can effect the performance of the Impact Server is incorrectly configured. Any changes that are made to the policy will need to be done with care and this in mind.

## Slide 31: X in Y – Wizard Configuration
Notes: To Start the X in Y wizard select it from the Wizard list.
The wizard will start and request a Policy Name

## Slide 32: X in Y – Wizard Configuration
Notes: Select the Event Reader used to execute the policy.
The Restriction Filter must be exact to ensure that the correct events are selected to be processed by the policy.

## Slide 33: X in Y – Wizard Configuration
Notes: The X value is the Event Threshold
The Y value is Time Window
The Severity field will be set to a value specified when the Threshold is breached

## Slide 34: X in Y – Wizard Configuration
EventReaderFIlter: Severity>0 and Summary LIKE ‘Attempt to login as user.*failed’
Notes: After creation the wizard will display the policy name and Data Types it has created.

## Slide 35: X in Y – How status is kept
The Wizard creates the Internal data type Wizard_XinY_EventStatusTally.
Static information needs to be stored to track the status of each alarm over time. An event will update the fields.
  RunningCount – the current number of events in the Y window
  PreviouslyProcessedCount – The previous processed event’s Count field, so we can identify when multiple increments are made to @Count – NOTE: This is necessary because multiple events may be de-duped in the time between Event Reader polling causing the Count field to jump.
Notes: The Wizard_XinY_EventTallyStatusType will keep a count of the Tally. It will monitor the previous and current event Tally and carry out mathematical calculations.
By periodically checking this during the window (on each new event de-duplication), the Running Tally will be checked against the event Threshold.

## Slide 36: X in Y Program Flow
Does status
Record
Exist?
Update Tally record with
PreviousTally, RunningTally
Set variable TallyDelta
Updated or Deleted Event
in O/S Problem event,
Machine offline
Yes
Create new status
record
No
Is RunningTally
> X ?
Yes
No
Set Grade=1,
Reset RunningTally=0
Hibernate for Y
Seconds
Hibernation
Time Out?
Subtract TallyDelta
From RunningTally
Yes
Notes: An event is hibernated within Impact during the sliding window Y
If during this time an events Running Tally breaches the threshold Y then the escalation will be processed.
If the event threshold is not breached before the end of the window then the event is removed from hibernation

## Slide 37
LAB EXERCISE
X in Y Policy